## Slide 1: Demonstration of Utility Managed Smart Charging for Multiple Benefit Streams
February 3rd, 2022
For Argonne-Exelon Biweekly
Argonne National Laboratory

## Slide 2: BP2 Study Scope and Tasks
  Use the ATEAM tool to simulate the impact of EV charging on the grid (Argonne)
  Execute customer engagement program by connecting with customers
  Install a utility-owned charging network
  Supply and install (as needed) smart EVSE or smart managed-charging devices to customers
  Enroll customers in the Smart Charge Management demonstration
  Collect data and develop system settings that will inform the economic impact (cost and benefit) analysis on EVSEs and the grid (Argonne)
  Perform a grid cybersecurity impact analysis considering large scale distribution system with EV penetration (Argonne)
Simulate the impact of EV charging on the grid. Design innovative tactics that will maximize the customer participation, flexible resource availability, and grid benefits. Market programs to customers, enroll them in smart charging program. Install utility-owned charging network.

## Slide 3: Argonne research tasks
  Simulate the impact of EV charging on the grid
    Expand utility-agent decision-making and resulting driver-agent response in charging
    Incorporate incentives for smart charging
    Develop ATEAM-T&D co-simulation platform
    Quantify impacts to distribution and transmission systems from power quality point of view
  Collect data and develop system settings that will inform the economic impact (cost and benefit) analysis on EVSEs and the grid
    Estimate levelized cost of charging for EVSE provider ($/kwh)
    Assess the grid upgrade needs, and resulting cost and benefits
  Perform a grid cybersecurity impact analysis considering large scale distribution system with EV penetration
    Identify cyber-physical threats, develop threat models and perform cyber impact analysis of EV integrated power system using T&D co-simulation platform.
Simulate the impact of EV charging on the grid, quantify the cost and benefits, identify the cyber-physical threat

## Slide 4: Interactions between ANL Models
A-LEAF
ATEAM
TDcoSim
Economic Impact
Grid Impact
Cybersecurity Impact
ATD
Cyber Threat Models
ATEAM
TDcoSim
A-LEAF
ATD
Agent-based Transportation Energy Analysis Model
Transmission, and Distribution (T&D) co-simulation tool
ATEAM + T&D co-simulation platform
Argonne’s Low-Carbon Electricity Analysis Framework

## Slide 5: ATEAM simulates the co-Evolution of EV adoption and charging deployment
INPUTS
Vehicle registrations
Vehicle efficiency
Census tract characteristics
Household characteristics
EV projections *
Chargers by type
Travel demand
Charging behavior
Charging loads
Unmet demand
Charger utilization
EV Battery state of charge
Locations of new chargers
Etcetera
OUTPUTS
* Currently input; can be output upon full implementation
THE A-TEAM

## Slide 6: Develop ATEAM-T&D (ATD) co-simulation platform
Objective: Evaluate the Impact to Grid with Large-Scale EV Charging Load
  Develop ATEAM-T&D (ATD) co-simulation platform
  Generate operation scenarios
    Hourly charging load from ATEAM TDcoSim platform
    Hourly loading profile of the grid
  Perform simulation study and write report
Conduct Impacts Analysis
  Identify the weakness of existing grid
  Explore the potential solutions
Outputs
  Voltage and line flow information including violations
  Customers not served, if any. Different metrics such as number of customers affected, MWh lost.
  Boundary condition at T&D interface (voltage and power)
Notes:         Over-voltage and under-voltage (in % of nominal voltage)
        Over-load (in % of affordable loading)
        Power line over-flow (in % of line rating)
      Mitigation strategies for above (stretch goal, based on two-way information flow)
      Long-term Grid Reliability:
        N-1 contingency analysis and corresponding risk analysis of EV nodes/buses (in % of potential overflow during N-1 contingency analysis)
        Risk of extreme event estimation (in probability of EV-charging caused grid damages, and loss of EV loads)

## Slide 7: T&D (ATD)
One way information flow from ATEAM to T&D co-simulation
  Can evaluate the impact of EV on grid
  Issues can be identified but not addressed
Bidirectional information flow between ATEAM and T&D co-simulation (stretch goal)
  Can evaluate and mitigate
  Issues can be identified and addressed to the extent possible

## Slide 8: Economic impact analysis on EVSE and the grid
Objective: Quantify the cost and benefit for EVSE provider and the grid
  Develop distribution system model: aligned with ATEAM-T&D (ATD) co-simulation platform
  Evaluate grid expansion scenarios: to accommodate EV penetration and EVSE expansion needs identified by the ATEAM and TDcoSim models
  Conduct economic analysis to access the potential of achieving multiple benefit streams
Outputs
  Levelized cost of charging for EVSE providers
    Evaluate the levelized cost of charging with smart
    charging scenarios ($/kwh or $/day/plug can be aggregated numbers or by types))
    Include unconstrained charging, smart charging
    management, and/or grid service provision.
  Levelized cost for Utilities
    Identify grid upgrade needs and resulting
    costs and benefits for a given scenarios ($/kw-year).

## Slide 9: Argonne’s Low-Carbon Electricity Analysis Framework (A-LEAF)
Long-term Expansion Planning
Transmission System
Short-Term Operational Planning
Transmission System
System Analysis
Generation Expansion Planning
Transmission/Distribution System Expansion Planning
Day-Ahead Security Constrained Unit Commitment
Resource Adequacy Analysis
Environmental Impact Analysis
Market/Economic Analysis
System Security & Reliability Analysis
Forecast scenarios:
Load Forecast
VRE Output Forecast
Policy Environment
Intra-day Security Constrained Unit Commitment
Real-Time Security Constrained Unit Commitment
Contingency Analysis
A-LEAF
PEV Modeling
Charging/Fueling Behavior
Charging Station
Transportation/Traffic Input Modeling
Time use / activities
/ SoC per PEV
Spatio-Temporal Aggregation
GIS information
PEV Charging Profile
Distribution System
Power Flow Analysis
Economic Operation
Distribution System
Upgrade Planning
Hosting Capacity Analysis

## Slide 10: Cyber
Objective: Assess the impact of cyber-attack on the steady-state and dynamic performance of EV integrated power grid under various threat scenarios.
Analysis
  Perform architecture analysis of power systems including communication, control, and field devices.
  Utilize the vulnerabilities and actors identified in Year 1 to develop the treat models (Key scenarios: Data manipulation, denial of service (DoS) attack, the man in the middle attack, and device misconfiguration)
Outputs/metrics/results
  Cyber threat models
  Attack scenarios
  Impact analysis results. The key metrics would be voltage and frequency deviations, stability margins, line loadings, customer not served, customer interruption time, etc.

## Slide 11
Key Cyber Projects

## Slide 12: Next-generation Attack-resilient Electricity distribution systems
  Objective
  To develop a multi-layer attack-resilient holistic approach with particular focus on architectural changes of current electricity distribution systems and the needed innovation on DMS cybersecurity with increasing penetration of DERs and microgrids
  Motivation
  Increasing penetration of DERs, microgrids, and other smart grid technologies significantly enlarge the attack surface
  Existing DMS and other systems are lacking protection from cyber attacks
Attack Surface for DMS of Next-Generation Distribution Systems
Cyber, Physical, and Functional Connectivity Identification for Various Actors
  Key Activities
  Develop system architecture for next-generation distribution systems
  Identify key DMS applications and actors for cyber security analysis
  Identify cyber, physical, and functional links for various actors
  Develop attack tree models for key DMS applications

## Slide 13: Cybersecurity for renewables, distributed energy resources, and smart inverters
Emerging DER Architecture and Cyber Attacks
Attack-Resilient Framework for DER cybersecurity
  Objective
  To develop a holistic attack-resilient architecture and layered cyber-physical solution portfolio to protect the critical power grid infrastructure and the integrated distributed energy resources (DER) from malicious cyber attacks.
  Key Activities
  Develop DER cybersecurity framework, architecture, threat models, attack prevention, detection and mitigation strategies followed by R&D experimentation and technology transfer for cyber-physical power system at cyber, device and utility layers.
  Accomplishments
Developed machine learning based DER attack detection strategy and a bi-level attack mitigation strategy using energy buffer for smart inverters.
Developed a co-simulation platform, integrating OpenDSS and a IEEE 2030.5 protocol library, to evaluate the detection algorithms by simulate cyber attacks against DER communications.
A prototype of smart inverter TTE to enable the increased security in communications with the inverter.

## Slide 14
Thank you!