## Slide 1: Demonstration of Utility Managed Smart Charging for Multiple Benefit Streams
February 3rd, 2022
For Argonne-Exelon Biweekly
Argonne National Laboratory

## Slide 2: Basic power flow
Input data (Exelon): topology (coordinate); line impedance; loads; transformers
Example inputs from ATEAM: EVSE type; Coordinate; Capacity; Charging Profile
Node
Line
Substation
EVCS
Impedance
Circuit
Chart: Node
| 0 | 1 | 2 | 3 | 4 | 5
Vbefore | 1.01 | 1 | 0.99 | 0.98 | 0.97 | 0.95
Vafter | 1.01 | 0.99 | 0.98 | 0.96 | 0.93 | 0.9
Power Flow
Undervoltage that cannot be measured

## Slide 3: Basic power flow
Voltage Profile
  Voltage constraint violation
    Penalty
    High losses
    Low power quality
    Potential voltage instability
Branch Current Profile
  Line overloading
  Transformer overloading
Time Series Power Flow Study
Different EV Penetration Level
*Contingency analysis and reconfiguration
Chart: Node
| 0 | 1 | 2 | 3 | 4 | 5
Vbefore | 1.01 | 1 | 0.99 | 0.98 | 0.97 | 0.95
Vafter | 1.01 | 0.99 | 0.98 | 0.96 | 0.93 | 0.9
Power Flow

## Slide 4: T&D Co-Sim (ATD)
TDcoSim: Transmission and distribution co-simulation platform
  Source code repository: https://github.com/tdcosim/TDcoSim
Distribution system
Transmission system
Connected to