## Slide 1: VTO 2197-1699 Ceeesa Workplan
drhgfdjhngngfmhgmghmghjmghfmf

## Slide 2: CEEESA Contribution
Generally, CEEESA will contribution to this project in three aspects
  Develop ATEAM-T&D co-simulation platform;
  Quantify EV penetration impacts to distribution systems and transmission systems from power quality point of view;
  Quantify EV penetration impacts from economic (cost and benefit) point of view;
  Identify cyber-physical threat and impact of EV penetration in large scale distribution system;
The detailed tasks and the associated milestones are listed in the next two slides.

## Slide 3: CEEESA Contribution
Develop ATEAM-T&D (ATD) co-simulation platform
  The ATD co-simulation tool will be developed using HELICS framework to interconnect the output of ATEAM as one of an input of Argonne’s TDcoSim platform. The ATD tool will enable evaluating the health of the grid.
Impacts Analysis
  Steady-state analysis
    Voltage, current
    Loading condition
  Quasistatic analysis
    Charing/Discharging
    Fault

## Slide 4: Economic impact analysis on EVSE and the grid
Economic impact (cost and benefit) analysis on EVSEs and the grid
  Evaluation of the revenue and operational cost of EVSEs with smart charging management and grid service provision profiles.
  Assessment of economic impact on the grid, including upgrade needs, as well as estimate the costs and benefits of a utility company
  Based on grid expansion scenarios to accommodate EV penetration, and EVSE expansion needs identified by the ATEAM model.
  Assessment of the potential of achieving multiple benefit streams
Milestone: Impact analysis based on the deployed utility-owned charging network.

## Slide 5: CEEESA Grid impact objectives and value proposition
Objectives:
  Assess the impact of various charging station location and charging load profiles on electric power grid, in terms of a) short-term over-voltage, frequency deviation, over-loading energy adequacy, power line over-flow, and b) long-term risk on power grid reliability from contingency analysis and extreme event estimation
  Assess the impact of cyber-attack on steady-state and dynamic performance of EV integrated power grid under various threat scenarios.
  Assess the economic impact of charging station deployment and operations on electric power grid, in terms of a) cost/benefit on charging stations and network considering long-term investment cost and short-term operational cost and revenue, and b) cost/benefit on utilities in terms of electricity cost saving and grid upgrade cost.
  Value Proposition and Expected Outcomes:
  Prevent short-term line/device tripping in power grids caused by EV charging
  Provide clear guidance on charging station planning and charging profile/strategy based on power grid reliability needs
  Provide economic input and analysis on charging station planning and operations, and the economic impact on multiple stakeholders.
  Prevent adverse impact to the grid due to cyber-attack and provide guidance for mitigation strategy in case of an attack.

## Slide 6: CEEESA Grid impact work plan - Overview
We will define the general scenario based on the information and input from the rest of the project team (ATEAM, Exelon) and will perform the grid impact analysis and the economic analysis over it.
The analysis will cover all domains related to grid impact and economic quantification as listed in the project documents. With the output from such analysis, we will define the improved scenario with suggested changes of parameters and system set-up for the ATEAM platform and will then perform the corresponding analysis for the improved scenario following the similar manner as the general scenario.
The effect and value of the grid impact analysis and the economic analysis will be revealed and demonstrated based on the comparison of the results from the two scenarios.
We will identify scenarios, threat vectors and develop attack models, and assess the impact of cyberattacks on the steady-state and dynamic performance of the power grid. The threat models will be input to the co-simulation tool in order to perform the impact analysis. The key metrics would be voltage and frequency deviations, stability margins, line loadings, customer not served, customer interruption time, etc.

## Slide 7: CEEESA Grid impact work plan – input, output, and coordination
Input:
data and system setting needs (all impact analysis task may coordinate to use the same information here):
Physical and system level:
  Charging station parameters (locations, cost, etc.) (source: ATEAM, Exelon)
  Grid settings (topology, equipment, etc.) at the target region (source: Exelon, or other public source, otherwise may need some kind of synthetic representation)
  Market/compensation settings (utility rate program, wholesale market product prices) at the target region (sources: Exelon, SEPA, etc.).
Operational level:
  Distribution system operational status (source: ATD co-simulation)
  Charging demand/activates on station level (source: ATD co-simulation)
  Distribution system load profile (source: ATD co-simulation, Exelon, or synthetic representation)
Scenarios:
  Interactive among modules (ALEAF with ATEAM, ALEAF with TDCo-sim, and ATEAM with TDCo-Sim). (Comment: we agree to start from the simplest case, that is a one way flow from ATEAM to TDCo-Sim to ALEAF. Stretch goal is to have two-way communication between ATEAM and TDCosim. One-way communication would allow for evaluation and two-way communication would allow for control.)
  Charging management (unrestricted, managed, V2G) (Comment: we agreed to start from unrestricted charging management)
  Grid simulation on selected representative period/snapshot.
  System architecture, communication strategy, list of actors along with all the information mentioned above.

## Slide 8: CEEESA Grid impact work plan – input, output, and coordination
Output:
    Grid analysis results of various charging station location and charging load profiles on electric power grid
      Short term:
        Over-voltage and under-voltage (in % of nominal voltage)
        Over-load (in % of affordable loading)
        Power line over-flow (in % of line rating)
      Mitigation strategies for above (stretch goal, based on two-way information flow)
      Long-term Grid Reliability:
        N-1 contingency analysis and corresponding risk analysis of EV nodes/buses (in % of potential overflow during N-1 contingency analysis)
        Risk of extreme event estimation (in probability of EV-charging caused grid damages, and loss of EV loads)
    Cyber threat models and attack scenarios
    Impact analysis result and performance metrics as described under the first bullet
    Economic impact analysis on the following metrics:
    Charging station operator:
      operational cost (mainly electricity bill on selected representative time period ($)) on individual station
      Revenue on individual station from: (1) energy arbitrage, (2) grid services; (3) demand charging mitigation (all are only applicable in managed charging scenarios, (2) is only applicable in V2G scenario)
      Extrapolate to the a longer operation period (e.g. one year to lifetime) ($)
      Extrapolate to the whole network ($)
      Charging network/station investment cost (this may already covered by ATEAM)
    Utility:
      Electricity cost and cost saving ($)
      Reliability benefit (may not be able to monetize, need to quantify with grid performance metrics in grid impact part)
      Grid upgrade cost (based on grid upgrade need determined by the TDCO-Sim module) ($)
Coordination Needed:
  Repository: if the code is proprietary then each module development team can upload the executable and relevant API documentation to interact with the module. This is needed to create federates and run co-simulation.

## Slide 9: CEEESA Grid impact work plan – deliverables
Progress report and final report on analysis
  Electric Grid Impact:
    Progress report on Data, System Setting, Scenario definition, simulation and result analysis for better performance on electric grid, including voltage (in Volt), frequency (in Hz), and other quantifiable metrics.
  Economic impact:
    Analysis report based on defined scenarios, major metrics (Comment: M25-M48, may breakdown to two by each 12-month period, can also coordinate/combine with reliability impact analysis part since all share the same system settings):